DVR CHECKLIST

2 MINUTE TEST

| LOCATION: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DATE: |  |  |  |  |  |
| SURVELLANCE DIRECTOR: |  |  |  |  |  |
| SYSTEM/VERSION: |  |  |  |  |  |
| INSTALLER: |  |  |  |  |  |

PASS	FAIL 	N/A	F/U

- TEST RECORDED VIDEO IN REAL TIME. (11:2a)

FULL SCREEN:

DATE AND TIME:

30 FRAMES PER SECOND:

- VISUALLY INSPECT THAT RESOLUTION HAS SUFFICIENT CLARITY TO

MEET ALL PUBLISHED SURVEILLANCE STANDARDS. (11:2b)

- MEDIA STORAGE SYSTEM WILL NOT RESULT IN LOSS OF DATA. (11:2e)

- CAMERAS NOT SPECIFICALLY ADDRESSED BY SURVEILLANCE STANDARDS

RECORDED AT A MINIMUM OF 7.5 FULL SCREEN IMAGES PER SECOND. (11;2f)

- VERIFY BY OBSERVATION AND REPRESENTATION ONLY 8 CAMERAS ARE

BEING FED INTO THE FIRST STAGE OF CONCENTRATION, UNLESS

FAULT TOLERANT  OR REDUNDANT SYSTEM IS IN PLACE.

(NOT APPLICALB E TO CAT D). (11:3)

- TEST CD FOR THE FOLLOWING: (11:5), (11.2a)

DATA WITH TIME AND DATE SUPERIMPOSED

MEDIA PLAYER THAT HAS NECESSARY SOFTWARE TO VIEW IMAGES

WATERMARK VERIFICATION SOFTWARE

30 IMAGES PER SECOND

FULL SCREEN REVIEW

- TEST REMOTE ACCESS FROM OUTSIDE SURVEILLANCE ROOM: (11:4)

ACCESS IS DISCLOSED IN A QUARTERLY REPORT

ACCESS IS PASSWORD PROTECTED

FIRE WALLED ON BOTH ENDS

ENCRYPTED

TEST TERMINATION OF ACCESS TO FEED

- COPY OF VIDEO VERIFICATION ENCRYPTION CODE SOFTWARE

(WATERMARK) HAS BEEN SUBMITTED TO THE GCB FOR TESTING. (11:6)

1 COPY UNALTERED TO GCB:

1 COPY TO INSTALLER. INSTALLER MUST ALTER CD AND RESUBMIT

TO GCB TO VERIFY AUTHENTICATION FAILURE:

DVR Checklist – 2 Minute Test	Page 2

Location	__________________

Date	_____________________

PASS	FAIL 	N/A	F/U

- VERIFY THE LICENSEE HAS KNOWLEDGE THAT FAILURE OF THE DVR

STORAGE SYSTEM MUST BE REPAIRED OR REPLACED IN 8 HOURS. (11:7)

- VERIFY THE DVR EQUIPMENT IS LOCATED IN THE SUVEILLANCE DEPT (CAT A AND B),

OR IN A SECURED LOCATION (CAT C AND D). (11:8)

- VERIFY THE SURVEILLANCE DEPT IS RESPONSIBLE FOR THE DVR SYSTEM

OPERATION AND MAINTENANCE. (11:8)

- VERIFY THE LICENSEE MUST NOTIFY GCB IF ANY PORTION OF THEIR

SURVEILLANCE SYSTEM IS CHANGED FROM ANALOG TO DVR FORMAT. (11:9)

- VERIFY ALL INTERMEDIATE DISTRIBUTION FRAMES (CLOSETS) ARE SECURED

- TEST FAILURE NOTIFICATION SYSTEM (AUDIO AND VISUAL) BY

DISCONNECTING: (11:2d)

FEED: (CAMERA TO DVR)

LINE: (DVR TO WORKSTATION)

DISK: (PULL DISK DRIVE)

NOTES: